# ELEC105L	Fundamentals of Electrical Engineering	Spring 2010

Lab #7:  Waveforms and Oscilloscopes and Captures, Oh My!

Why is this important?

So far this semester you have been learning how to use the DC power supply to produce constant voltages and the multi-meter to measure voltages, currents, and resistances.  Some of the lab exercises coming up this semester will use voltages and currents that vary with time.  To prepare you for these experiments, you will learn about two pieces of equipment (the function generator and the oscilloscope) that can be used to generate and measure time-varying voltages.

Grading

This lab is a “familiarization exercise” and therefore will be weighted 50 points.  To receive full credit, turn in the data table described in Step 12 to your instructor, as well as the two screen image files captured in Steps 21 and 22.  All items are due at the end of the lab session.  Only one submission per lab group is required; however, each member of the group must contribute to its production.

Introduction

Each bench in our lab is equipped with a function generator (Agilent 33120A) capable of producing a variety of periodic voltage waveforms.  Along with the standard waveforms (sine, square, ramp, pulse, and noise), this instrument produces other interesting signals such as a simulated cardiac waveform and exponentially decaying or rising voltages.  We will use this instrument to provide input signals for circuits such as amplifiers and filters that will be studied later in the semester.

Each bench is also equipped with an oscilloscope (Agilent DSO7034A) that is used to measure and display voltages as a function of time.  Multiple voltage waveforms can be displayed simultaneously on the oscilloscope’s screen.  The oscilloscope can measure many different parameters of the waveform, such as peak-to-peak voltage, maximum and minimum voltage, period and frequency of the waveform, and average voltage.

Procedure

- The Agilent 33120A function generator can be modeled as an ideal voltage source in series with a 50-Ω internal resistance, as shown in the circuit on the left in Figure 1. The circuit on the right shows a circuit model of the function generator with a load attached.  If the box labeled “Load” were replaced with a resistor R, you should be able to predict the resulting value of VL, assuming you knew the value of R.  Write an equation for VL in terms of VOC, R, and the 50-Ω resistance.

Voc

+

−

50 

Load

+

VL

−

Voc

+

−

50 

Figure 1.  Model of function generator alone and with load.

- Now, if VOC = 2 V, predict VL when the load (resistor R) is an open circuit (infinite resistance), 50 , 10 , and 1 k, and fill in the table below.

| Load Resistance | Expected VL |
| --- | --- |
| ∞ |  |
| 50  |  |
| 10  |  |
| 1 k |  |

- Let’s find out if your predictions agree with what you measure.  Find two cables with a BNC connector on one end and two alligator clips on the other end.  (“BNC” stands for “Bayonet-Neill-Concelman.”  “Bayonet” refers to the little nubs on the female connectors that help keep the male connectors in place, and Neill and Concelman were the two engineers credited with developing the connector series.  To find out more about the BNC connector, and to see a picture of one, visit this Wikipedia article:  http://en.wikipedia.org/wiki/BNC_connector)

- Connect the BNC plug on one of the cables to the jack (receptacle) labeled “Output” on the function generator.

- Connect the BNC plug on the other cable to the Channel 1 input connector on the oscilloscope.  This connector is labeled “1” and colored yellow.

- Connect the red alligator clips to each other and the black alligator clips to each other, and then turn on the function generator and the oscilloscope.

- The default waveform for the function generator is a sine wave with a frequency of 1 kHz and an amplitude of 100 mV peak-to-peak (mVpp).  Find the button (either a regular button or a “soft” button immediately below the display) on the oscilloscope labeled “Freq” and press it to display the signal frequency.  Knowing that the period of a signal is the inverse of its frequency, calculate the corresponding period of this signal.

- Press the button on the function generator labeled “Ampl.”  Change the amplitude of the signal to 2 Vpp using the large round knob.  The knob changes the value of the digit that is highlighted in the display.  The two buttons labeled “<” and “>” are used to select the digit that is changed by the knob.

- Find and press the white button labeled “Autoscale” on the oscilloscope.

- A sine wave (showing measured voltage as a function of time) should appear on your oscilloscope screen.  Along the top of the display, you should see “CH1=1.00V/div” (or something similar), which indicates the vertical scale for voltage.  You should also see “500.0 μs/div,” which indicates the horizontal scale for time.  Determine the period of the waveform by inspecting the display.  Is this what you expected?  Select some other waveforms on the function generator, and see what they look like on the oscilloscope.

- The measurement you are taking corresponds to the circuit in Figure 1, where the load is now the oscilloscope.  The input (Thévenin equivalent) resistance of the oscilloscope is very large, about 1 M for the DSO7034A.  Determine the peak-to-peak voltage for the sine wave.  How does your measurement compare with what you derived in Step 2?  Do not be alarmed if the values do not agree; it should make sense later.

- Obtain a 51-Ω resistor.  Connect both red alligator clips to one end of the resistor and both black clips to the other end.  (You can use a breadboard for this part, if you wish.)  Estimate the peak-to-peak amplitude and the period of the voltage signal by examining the oscilloscope display.  Repeat your measurements with a 10- Ω resistor and then a 1-kΩ resistor.   Enter all of your measurements in the table below, and transfer your predicted load voltage values from the table you filled in earlier.

| Load Resistance | Expected VL | Measured VL | Measured Period |
| --- | --- | --- | --- |
| ∞ |  |  |  |
| 50  |  |  |  |
| 10  |  |  |  |
| 1 k |  |  |  |

- The manufacturer of the function generator assumed that a 50- load, a common load used in the communications field, would be connected to the output jack.  The voltage that you see displayed on the function generator is the same voltage that you would measure across the attached load if the load resistance were 50 .  If the load connected to the function generator has an equivalent resistance of some value other than 50 , the displayed value will not be correct.  Based on this information, do your measurements above make sense?

- Become acquainted with some of the controls on the oscilloscope.

  - Turn the largest knob with the yellow dot.  What is its effect?

  - Turn the smaller knob with the yellow dot.  Notice that this changes where “ground potential” (0 V) is shown on the screen.  The “1” with the yellow highlighting at the far left side of the screen indicates the 0-V level.

  - The trigger level determines the threshold for voltage measurements.  The oscilloscope begins tracing a line across the screen when the voltage goes above the threshold level (triggering on the positive slope of the trace) or goes below the threshold level (triggering on the negative slope of the trace).  The point in time at which the oscilloscope triggers is at the center of the display.  This happens over and over again at a rate determined by the horizontal scale setting.  Because each new trace always begins at the same place in the waveform, the signal appears to be stationary on the screen.  Press the “Edge” button and then use the soft button marked “Slope” to change the trigger slope.  Notice how the displayed waveform changes when you change the slope.

  - The knob labeled “Trigger Level” changes the trigger threshold level.  Try turning this knob and see what happens.

  - Press the “Autoscale” button again.  The scales for the display will be set by the ‘scope to the values it “thinks” are best for the waveform being measured.  Be aware, however, that sometimes the ‘scope will focus on a signal that you might not be interested in seeing.

  - Press the “Quick Meas” button, and then press the “Select” soft button and use the small knob near the “Quick Meas” button to scroll to the “Average” choice.  Notice that the average value of the voltage signal is displayed.  Does the displayed value make sense?

  - Try to find the buttons needed to measure some other quantities like minimum voltage, maximum voltage, and peak-to-peak voltage.  Do they all agree with what you expect?

  - Press the “Quick Meas” button, and then press the “Select” soft button and use the small knob near the “Quick Meas” button to scroll to the “Frequency” and “Period” choices.

The oscilloscope is a very sensitive and versatile instrument, and you can use it to identify sources of electrical “noise” that are all around the lab.  The most significant source is the signal radiated by WVBU’s transmitting antenna, which is located on the roof of Dana.  The WVBU signal occupies a relatively narrow range of frequencies near 90.5 MHz.

- For this exercise all you need is the oscilloscope and the test leads connected to it.  Disconnect the test leads from the function generator and the resistor, and turn off all other instruments.  Leave the BNC cable connected to the oscilloscope with the alligator clips disconnected from anything (open-circuited).  Press the “Autoscale” button.  You should see a rapidly fluctuating signal that resembles a sine wave.

- Estimate the frequency and the amplitude of the noise from the display.  Do you think you are measuring WVBU?  You might have to adjust the time/div scale to get a better reading.

- IMPORTANT:  When you perform the next two steps avoid pressing the “Autoscale” button.  If you do, you will erase all of the settings you have worked hard to enter manually.

- Locate and press the “Acquire” button on the ‘scope.  Once the button is pressed there will be options for selecting the way the input signal is acquired.  The list should be under the “Waveform” function.  Using the soft buttons, change the “Mode” to “Averaging,” and change the average to 256 samples.  What happens to the noisy waveform?  Determine the frequency and amplitude of the signal.  How do they compare to those of WVBU?

- By pressing the channel button (the lighted “1” above the input connector for channel 1) you can locate a menu option for “BW Lim.”  This inserts a low-pass filter with a cutoff frequency of 20 MHz in line with the test leads.  Turn on the “BW Lim” feature and observe what happens to your signal.  Is it cleaner?

- Finally, you will learn how to create image files of the waveforms and data displayed on the oscilloscope screen that can be inserted into reports and other documents.  Connect the output of the function generator once again to the oscilloscope, and adjust the frequency to 1 kHz and the amplitude to 200 mVpp or so (no more than a few hundred mVpp).  Adjust the controls on the oscilloscope so that one complete cycle is displayed.  Turn off the “BW Lim” feature, if it is still on.  The trace should be thick and perhaps a little “fuzzy” because of the presence of interference from WVBU.  If the trace “flips” several times per second, it is because the signal is not clean enough to allow proper triggering.  If you observe this effect, you may increase the amplitude until the “flipping” goes away.

- Read the “Instructions for Capturing Oscilloscope Screen Images,” which are available on the lab web site, and save the fuzzy waveform displayed on the screen to a *.png file.  Give the file a descriptive name that includes your group members’ last names.

- Reactivate the “BW Lim” feature, and capture the new screen image (giving the second file a different name, of course).

- Give a copy of your completed table from Page 3 to your instructor, and e-mail to your instructor the two screen images you captured.  All items are due at the end of the lab session.

Acknowledgement

This hand-out is adapted from one originally prepared by Prof. Sam Craig and Prof. Joseph Hass.